## Project_Info
| Sampling Organization: | Salmon Drift Creek Watershed Council
| QAPP/SAP Title: | DEQ 04-LAB-0047-QAPP Version 2.0
| QAPP/SAP Date: | 2009-11-10
CharID | MethodShortName | METHOD DESCRIPTION | UNITS | MethodSpeciation | FieldOrLab | ANALYTICAL ORGANIZATION | LOQ | LowLevQClimit
t | T-170.1 | 170.1 ~ EPA-NERL ; Temperature by Thermometer | deg C |  | Field | SDCWC | -5 | -5
dos | DO-NFM6.2.1-Lum | NFM 6.2.1-Lum ~ USGS-OWQ ; Dissolved-oxygen concentration, field measurement by luminescent sensor | % |  | Field | SDCWC | 0.01 | 0
do | DO-NFM6.2.1-Lum | NFM 6.2.1-Lum ~ USGS-OWQ ; Dissolved-oxygen concentration, field measurement by luminescent sensor | mg/l |  | Field | SDCWC | 0.01 | 0
sc | SC-120.1 | 120.1 ~ EPA-NERL ; Conductance by Conductivity Meter | uS/cm |  | Field | SDCWC | 0.01 | 0
ph | pH-150.1 | 150.1 ~ EPA-NERL ; pH in Water by Electrometric Method | S.U. |  | Field | SDCWC | 0.01 | 0
q | Q-w.emag.ms | Open channel measurement of streamflow or discharge by wading. A channel cross section is divided into subsections at specific intervals. At each interval a vertical measurement of depth and an average velocity is measured at one or multiple depths. Velocity meters include Marsh-McBirney or equivalent electromagnetic sensor head. Half the distance to the previous vertical is added to half with distance to the subsequent vertical to determine subsection width. With depth x width x velocity for each subsection are then summed to determine total discharge. The method describes instances where additional corrections are necessary. | CFS |  | Field | SDCWC | 0.01 | 0.1
Note on E6: Steve Hanson: Example "as N" for mg/L NO3 as N, or "as NO3" for mg/L NO3. Check method.
Note on H6: shanson: NOT REQUIRED FOR FIELD PARAMETER METHODS DEFINED IN OWEB OR DEQ METHOD MANUALS. Previously refered to as the Method Reporting Limit (MRL). All laboratory parameter methods (like nutrients, solids, E. coli, , etc. ) should have a LOQ.
Note on I6: Steve Hanson: Required for any CharID that uses RPD for QC. If, like for conductiivity there is no low detection level when the QC criteria type changes then use 0. Default is 5 x LOQ

## data
site | LATITUDE(decimaldegrees) | LONGITUDE(decimaldegrees) | LAT/LONGSOURCE | LASAR | SiteIDcontext | StationID | StartDate | StartTime | DateTime | SampleDepth | SampleDepthUnit | EndDateTime | SampleMedium | SampleColMthd | SampleColEquip | SampleColEquipID | SampleColEquipCmnt | DupBatchKey | t_r | t_qual | td_r | td_qual | t_PREC | t_ACC | t_DQL | t_m | t_cmnt | dos_r | dos_qual | dosd_r | dosd_qual | dos_PREC | dos_ACC | dos_DQL | dos_m | dos_cmnt | do_r | do_qual | dod_r | dod_qual | do_PREC | do_ACC | do_DQL | do_m | do_cmnt | sc_r | sc_qual | scd_r | scd_qual | sc_PREC | sc_ACC | sc_DQL | sc_m | sc_cmnt | ph_r | ph_qual | phd_r | phd_qual | ph_PREC | ph_ACC | ph_DQL | ph_m | ph_cmnt | q_r | q_qual | qd_r | qd_qual | q_PREC | q_ACC | q_DQL | q_m | q_cmnt | Org_Comment | samplers | DEQ_Comment
Bear Creek u/s Hwy 18 Bridge | 45.0018 | -123.9037 | Google Earth | 40555 | DEQ | Bear Creek | 2017-07-11 | 13:30 | 2017-07-11 13:30 | [54 empty] | 8.94 |  | 9.09 |  | A | A | A |  | Meter 50709 |  | Katen - Waltz - Robertson
Salmon River - Downstream of Hatchery | 45.0168 | -123.9388 | Google Earth | 10525 | DEQ | Salmon_RM_5.04 | 2017-07-11 | 15:40 | 2017-07-11 15:40 | [54 empty] | 78.69 |  |  |  |  | A | A |  | Meter 50709 |  | Katen - Waltz - Robertson
Salmon River - Downstream of Hatchery | 45.0168 | -123.9388 | Google Earth | 10525 | DEQ | Salmon_RM_5.04 | 2017-07-11 | 17:00 | 2017-07-11 17:00 | [54 empty] | 96.9 |  |  |  |  | E | E |  | Time approximate - Hatchery may be discharging |  | Katen - Robertson
Bear Creek u/s Hwy 18 Bridge | 45.0018 | -123.9037 | Google Earth | 40555 | DEQ | Bear Creek | 2017-07-12 | 15:30 | 2017-07-12 15:30 | [9 empty] | 13.7 |  |  |  |  | A | A |  |  | 101.5 |  |  |  |  | A | A |  |  | 10.53 |  |  |  |  | A | A |  |  | 80.1 |  |  |  |  | A | A |  |  | 7.68 |  |  |  |  | A | A | [12 empty] | Katen - Robertson
Slick Rock u/s of Salmon Rover Confluence | 45.0116 | -123.8841 | Google Earth | 33098 | DEQ | Slick Rock | 2017-07-12 | 16:40 | 2017-07-12 16:40 | [9 empty] | 14.5 |  | 14.5 |  | A | A | A |  |  | 101.7 |  | 101.8 |  | A | A | A |  |  | 10.34 |  | 10.35 |  | A | A | A |  |  | 63.5 |  | 63.5 |  | A | A | A |  |  | 7.73 |  | 7.74 |  | A | A | A |  |  | 18.2 |  |  |  |  | A | A |  |  |  | Katen - Robertson
Salmon River - Downstream of Hatchery | 45.0168 | -123.9388 | Google Earth | 10525 | DEQ | Salmon_RM_5.04 | 2017-07-13 | 10:15 | 2017-07-13 10:15 | [9 empty] | 14.5 |  |  |  |  | A |  |  |  | 106 |  |  |  |  | A |  |  |  | 10.87 |  |  |  |  | A |  |  |  | 74.9 |  |  |  |  | A |  |  |  | 7.85 |  |  |  |  | A | [13 empty] | Katen - Robertson
Bear Creek u/s Hwy 18 Bridge | 45.0018 | -123.9037 | Google Earth | 40555 | DEQ | Bear Creek | 2017-07-13 | 10:43 | 2017-07-13 10:43 | [9 empty] | 12.3 |  |  |  |  | A | [8 empty] | A |  |  |  | 10.78 |  |  |  |  | A |  |  |  | 79.5 |  |  |  |  | A |  |  |  | 7.61 |  |  |  |  | A | [13 empty] | Katen - Robertson
Slick Rock u/s of Salmon Rover Confluence | 45.0116 | -123.8841 | Google Earth | 33098 | DEQ | Slick Rock | 2017-07-13 | 11:03 | 2017-07-13 11:03 | [9 empty] | 13.1 |  |  |  |  | A | [8 empty] | A |  |  |  | 10.75 |  |  |  |  | A |  |  |  | 63.3 |  |  |  |  | A |  |  |  | 7.79 |  |  |  |  | A | [13 empty] | Katen - Robertson
Salmon River - 200' D/S of 9 Mile Bridge | 45.0298 | -123.815 | LASAR | 38594 | DEQ | Salmon_RM_12.6 | 2017-07-13 | 11:51 | 2017-07-13 11:51 | [9 empty] | 13.8 |  |  |  |  | A | [8 empty] | A |  |  |  | 10.72 |  |  |  |  | A |  |  |  | 61.5 |  |  |  |  | A |  |  |  | 7.81 |  |  |  |  | A |  |  |  | 20.5 |  | 20.5 |  | A | A | A |  | T2 |  | Katen - Robertson
Salmon River - Downstream of Hatchery | 45.0168 | -123.9388 | Google Earth | 10525 | DEQ | Salmon_RM_5.04 | 2017-07-13 | 18:06 | 2017-07-13 18:06 | [9 empty] | 17.1 |  |  |  |  | A | [8 empty] | A |  |  |  | 10.38 |  |  |  |  | A |  |  |  | 74.2 |  |  |  |  | A |  |  |  | 8.5 |  |  |  |  | A |  |  |  | 72.2 |  | 74.1 |  | A | A | A |  | Trasects 1 and Transect 9 - duplicate |  | Katen - Robertson
Bear Creek at Hwy 18 Bridge | 45.0018 | -123.9037 | Google Earth | 40555 | DEQ | Bear Creek | 2017-07-13 | 18:23 | 2017-07-13 18:23 | [9 empty] | 13.9 |  |  |  |  | A | [8 empty] | A |  |  |  | 10.27 |  |  |  |  | A |  |  |  | 79.4 |  |  |  |  | A |  |  |  | 7.62 |  |  |  |  | A | [13 empty] | Katen - Robertson
Slick Rock u/s of Salmon Rover Confluence | 45.0116 | -123.8841 | Google Earth | 33098 | DEQ | Slick Rock | 2017-07-13 | 18:35 | 2017-07-13 18:35 | [9 empty] | 14.3 |  |  |  |  | A | [8 empty] | A |  |  |  | 10.34 |  |  |  |  | A |  |  |  | 63 |  |  |  |  | A |  |  |  | 7.71 |  |  |  |  | A | [13 empty] | Katen - Robertson
Note on B1: Steve Hanson: Required when no LASAR ID exists
Note on C1: Steve Hanson: Required when no LASAR ID exists
Note on D1: Steve Hanson: REQUIRED if lat/long are required. Should include DATUM (NAD27, NAD83, WGS84) or a standard mapping tool like DEQ web apps or Google Earth with defined geographic parameters.
Note on K1: Steve Hanson: Depth where the sample collection or measure was made. This can be a number or descriptor like 'bottom'
Note on L1: Steve Hanson: Required when a numeric sample depth is used.
Note on M1: Steve Hanson: Time sampling finished. For time integrated samples, etc.
Note on N1: Steve Hanson: Medium in which sample or measurement was taken (example: Water, Sediment, etc.)
Note on O1: Steve Hanson: Required when analysis not done in the stream
Note on P1: Steve Hanson: Required if samples are collected. Examples "water bottle", "bucket", etc.
Note on S1: Steve Hanson: Used when date is not the only way duplicates are batched together, could be sampler abbreviation, equipment group, route number, etc. For samples batched per day blank is OK.